Attachment A

Table 1.  Preliminary sampling results of groundwater in Big Creek Basin, summer 2013.

[sp, spring; st, stream; wd, deep well; ws, shallow well; Temp., temperature; Sp. Cond., specific conductance; S/ cm, microsiemen

per centimeter; TP, total phosphorus; NO3-, nitrate dissolved; Alk., alkalinity; SO4-2, sulfate dissolved; Cl-, chloride dissolved; Ca+2,

calcium dissolved; Mg+2, magnesium dissolved; Na+, sodium dissolved; K+, potassium dissolved; mg/L, milligram per liter; MPN/

100 mL, most probable number per 100 milliliters; Fecal Col., fecal coliform; >, greater than; <, less than; *, multiple sampling values;

mm/dd/yyyy, month/day/year; NS,  not sampled]

Site	Field	Field	Field

Site ID	Type	Temp	Sp. Cond.	  pH	Turbidity	  TP	 NO3	Alk.	Cl-	SO4-2	Ca+2	Mg+2	Na+	K+	E. coli	        Fecal Col.	Date

oC	S/cm			mg/L	mg/L	mg/L	mg/L	mg/L	mg/L	mg/L	mg/L	mg/L	MPN/100mL    MPN/100 mL   mm/dd/yyyy

BS-1	sp	18.9	191	7.72	10.4	0.42	0.09	86	1.1	1.3	39.4	0.86	2.1	0.77	  1	        2460	                   7/16/2013

BS-2	sp	17.1	250	7.48	1	0.03	0.25	112	4.8	1.2	45.2	1.66	2	0.83	  1	        866.4	                   7/16/2013

BS-2A	sp	15.1	280	7.72	1	0.02	0.52	122	5.6	1.3	51.6	1.88	2.2	0.87	  <1	        290.3	                   7/16/2013

BS-2B	sp	15.6	281	7.34	1.5	0.02	0.59	126	5.2	1.3	53	1.72	2.3	0.88	  4.1	        866.4	                   7/16/2013

BS-3	sp	24.5	129	8.32	0.6	0.01	1.58	44	0	3.5	19.2	0.6	3.7	0.49	  <1	        4140	                   7/16/2013

BS-4	sp	16.5	316	7.62	142	0.74	2.19	130	1	5.8	62.2	0.74	3.8	0.33	  13.1*	  >241900*                   7/16/2013

BS-5	sp	17.1	247	8.08	4.1	0.09	0.59	104	4.5	0.6	45	2.16	2	1.65	  1413.6	      12360	                   7/17/2013

BS-6	st	28.5*	285*	7.73*	1.2	0.02	0.22	114	4.7	1.2	48	1.78	2.2	0.88	  16	        3740	                   7/17/2013

BS-7	st	30.0	248	8.31	1	0.01	0.06	106	7.1	2.5	45	2.2	2.9	0.96	  3.1	        5910	                   7/17/2013

BS-8	st	28.9*	270*	7.92*	0.8	0.01	0.05	110	5.2	1.5	47.2	2	2.4	0.96	  5.2	        3970	                   7/17/2013

BS-9	st	28.5*	263*	8.16*	1	0.01	0.07	107	5.3	1.7	46.2	2.02	2.4	0.93	  6.2	        3360	                   7/17/2013

BS-10	sp	16.3	181	7.87	5.5	0.24	1.05	70	2	5.8	34	1.58	3	2.03	  NS	        NS	                   7/24/2013

BS-11	sp	15.7	523	7.38	0.4	0.1	1.08	183	7.7	0	82.2	2.68	2.9	1.49	  NS	        NS	                   7/24/2013

BS-12	sp	17.8	551	7.07	5.8	0.04	0.14	266	6.2	0	117.6	2.72	3.1	0.97	  NS	        NS	                   7/24/2013

BS-13	sp	18.9	472	7.45	73.7	0.64	5.31	183	2.9	11.5	98.4	1.58	5.9	1.37	  980.4	        30760                   7/24/2013

BS-14	sp	17.1	454	7.84	136	0.57	1.15	207	3.9	5.8	95.2	1.2	2.7	0.99	  39.3	        1203.3	 7/24/2013

BS-15	sp	17.9	452	7.47	7.2	0.08	2.52	187	1.9	4.5	90	1.14	2.1	0.98	  14.6	         2380	                   7/24/2013

BS-16	wd	16.3	813	7.67	4.7	0.05	0.67	300	40.9	26.8	66	19	87.8	1.59	  <1	        1	                   7/24/2013

BS-17	wd	15.4	296	7.4	6.9	0.02	0.65	131	5.9	2	54	2.15	2	0.88	  3	        172.2	                   7/31/2013

BS-18	sp	15.6	382	7.65	0.2	0.03	0.04	161	22.4	2.5	36	16.78	13.3	1.69	  <1	        <1	                   7/31/2013

BS-19	sp	14.9	364	7.36	1	0.01	1.69	159	3.9	2.4	69.7	1.4	2.2	0.63	  61.3	        231	                   7/31/2013

BS-20	sp	23.8	438	7.66	0.6	0.03	0.27	201	11.7	1	80.9	3.82	2.4	0.66	  17.5	        1732.9	 7/31/2013

BS-21	ws	16.2	283	7.27	43.6	0.33	0.64	125	8.1	2	52.8	2.32	2	0.9	  206.4	        8290	                   8/6/2013

BS-22		sp	14.4	333	7.74	0.87	0.02	0.07	156	5	1.1	64.9	1.85	1.6	0.59	  12.2	        1046.2	 8/6/2013